|  | OBSERVATION SHEET | Doc. No.: PEL/QF/7.5/01 Issue No.: 02 Amend. No.: 02 Amend. Date: 11.02.2025 |
| --- | --- | --- |

| SAMPLE CODE/ JOB ORDER NO. |  | ENVIRONMENTAL CONDITIONS | TEMP.: |
| --- | --- | --- | --- |
|  |  |  | HUMIDITY: |
| SAMPLE DESCRIPTION |  | DATE OF TESTING | START: |
|  |  |  | END: |
|  |  | REF.STANDARD /TEST METHOD |  |
| EQUIPMENT USED (EQUIP.ID) | - PEL/Cal- - PEL/Cal- | - PEL/Cal- - PEL/Cal- |  |

| ANNEX 2 | ## TABLE: Temperature measurements, thermal tests of Section 12 |  |  |  |
| --- | --- | --- | --- | --- |
|  | Type reference : |  |  |  |
|  | Lamp used : |  |  |  |
|  | Lamp control gear used : |  |  |  |
|  | Mounting position of luminaire : |  |  |  |
|  | Supply wattage (W) : |  |  |  |
|  | Supply current (A) : |  |  |  |
|  | Calculated power factor : |  |  |  |
|  | Table: measured temperatures corrected for ta: |  |  |  |
|  | - test 1: rated voltage : |  |  |  |
|  | - test 2: 1,06 times rated voltage or 1,05 times rated wattage : |  |  |  |
| Temperature measurements, (C) |  |  |  |  |
| Part |  | Clause 12.4 – normal |  |  |
|  |  | test 1 | test 2 | Limit |
| Supplementary information: Nil |  |  |  |  |

| Tested By: | Checked By: |
| --- | --- |
| Sign.: | Sign.: |
| Name: | Name: |
| Date: | Date: |