|  | OBSERVATION SHEET | Doc. No.: PEL/QF/7.5/01 Issue No.: 02 Amend. No.: 02 Amend. Date: 11.02.2025 |
| --- | --- | --- |

| SAMPLE CODE/ JOB ORDER NO. |  | ENVIRONMENTAL CONDITIONS | TEMP.: |
| --- | --- | --- | --- |
|  |  |  | HUMIDITY: |
| SAMPLE DESCRIPTION |  | DATE OF TESTING | START: |
|  |  |  | END: |
|  |  | REF.STANDARD /TEST METHOD |  |
| EQUIPMENT USED (EQUIP.ID) | - PEL/Cal- - PEL/Cal- | - PEL/Cal- - PEL/Cal- |  |

| Cl. No | Test / Requirement name |  | Test result/ observation |
| --- | --- | --- | --- |
| 12 (12) | ELECTRIC STRENGTH |  |  |
|  | Immediately after clause 11 electric strength test for 1 min |  |  |
|  | Working voltage 42 V, test voltage 500 V |  |  |
|  | Working voltage > 42 V 1000 V, test voltage (V): |  |  |
|  | Basic insulation, 2U + 1000 V |  |  |
|  | Supplementary insulation, 2U + 1000 V |  |  |
|  | Double or reinforced insulation, 4U+2000 V |  |  |
|  | No flashover or breakdown |  |  |

| Tested By: | Checked By: |
| --- | --- |
| Sign.: | Sign.: |
| Name: | Name: |
| Date: | Date: |