|  | OBSERVATION SHEET | Doc. No.: PEL/QF/7.5/01 Issue No.: 02 Amend. No.: 02 Amend. Date: 11.02.2025 |
| --- | --- | --- |

| SAMPLE CODE/ JOB ORDER NO. |  | ENVIRONMENTAL CONDITIONS | TEMP.: |
| --- | --- | --- | --- |
|  |  |  | HUMIDITY: |
| SAMPLE DESCRIPTION |  | DATE OF TESTING | START: |
|  |  |  | END: |
|  |  | REF.STANDARD /TEST METHOD |  |
| EQUIPMENT USED (EQUIP.ID) | - PEL/Cal- - PEL/Cal- | - PEL/Cal- - PEL/Cal- |  |

| Cl. No | Test / Requirement name | Test result/ observation |
| --- | --- | --- |
| 11 (11) | MOISTURE RESISTANCE AND INSULATION |  |
|  | After storage 48 h at 91-95% relative humidity and 20-30 C measuring of insulation resistance with d.c. 500 V, 1min (M): |  |
|  | For basic insulation 2 M : |  |

| Tested By: | Checked By: |
| --- | --- |
| Sign.: | Sign.: |
| Name: | Name: |
| Date: | Date: |